A fibre-optic chemical sensor for the detection of cocaine

- T. Hien Nguyen a*, Tong Sun a, Kenneth T.V. Grattan a and S. A. Hardwick b

aSchool of Engineering and Mathematical Sciences, City University, London EC1V 0HB, UK.

bHome Office Scientific Development Branch, Hertfordshire AL4 9HQ, UK.

Abstract

A fibre-optic chemical sensor for the detection of cocaine has been developed, based on a molecularly imprinted polymer (MIP) containing a fluorescein moiety as the signalling group. The fluorescent MIP was formed and covalently attached to the distal end of an optical fibre. The sensor exhibited an increase in fluorescence intensity in response to cocaine in the concentration range of 0 – 500 µM in aqueous acetonitrile mixtures with good reproducibility over 24 h. Selectivity for cocaine over others drugs has also been demonstrated.

- Keywords: Optical fibre sensor, chemical sensor, cocaine sensor, fluorescence, fluorescein, molecular imprinting

# INTRODUCTION

Cocaine is one of the most commonly abused drugs and this has led to extensive investigative research efforts for its detection due to the adverse health effects and related dangers associated with its illicit use.1 2 Sensitive detection of cocaine is very important for law enforcement and clinical diagnostics. There are several major analytical methods available for analysis of cocaine and its metabolites including gas chromatography mass spectrometry (GC/MS),3, 4 high performance liquid chromatography (HPLC),5, 6 thin layer chromatography,7 voltammetry,8 radioimmunoassay9 and enzyme-linked immunosorbent assay (ELISA)10. These traditional methods, despite having achieved very good results, are generally expensive, time consuming and cumbersome for real-time measurements outside the laboratory, some of which also require sample clean-up and derivatization of cocaine prior to analysis.  Biosensors, which rely on the specificities of the binding sites of receptors, enzymes, antibodies or DNA as biological sensing elements, have been considered as alternative analytical devices due to their specificity, portability, speed and low cost.11 Biosensors for cocaine based on monoclonal antibodies12, 13 and especially aptamers14-18 have been developed in recent years. However, these sensors suffer from certain limitations for their practical application in the field due to the fragile and unstable nature of the biological recognition elements. Therefore, the development of stable, compact and portable sensing systems which are capable of real time detection of the target drug remains a compelling goal which is addressed in this work.

In this research, a robust fibre optic chemical sensor for cocaine detection has been developed, based on the combination of molecular imprinting (as a method for generating chemically selective binding sites) and fluorescence modulation (as a means of signalling the presence and concentration of the analyte). The attraction of this approach lies in the advantages offered both by the optical fibre in terms of small size, immunity to electromagnetic interference, remote sensing capability, resistance to chemicals and biocompatibility19, 20 and by the synthetic polymer receptor in terms of robustness, thermal and chemical stabilities, low cost and long shelf-life21. The molecularly imprinted polymer (MIP) receptor which is selective for cocaine was covalently bonded to the distal end of the optical fibre, which facilitated both the rapid and highly sensitive detection and the guidance of excitation light and the fluorescence signal generated. Acrylamidofluorescein (AAF) was used as fluorescent functional monomer interacting with the template cocaine. The imprinting and sensing strategy is illustrated in Fig.1. A complex is formed between the functional group -COOH on the fluorophore and the amine group on the template/analyte. The complex is copolymerised with cross-linking monomer on the surface of the fibre, which has been functionalised with polymerisable groups. Then the template/analyte is extracted from the polymer. The resulting MIP formed on the fibre contains recognition sites incorporating the fluorophore and exhibits an increase of fluorescence intensity selectively in the presence of the template/analyte.  As a result, the selectivity of the sensor has been designed to arise from the functional group of the fluorophore and from the shape of the cavity.

*hien.nguyen.1@city.ac.uk; Tel: +44 (0)20 7040 3641; Fax: +44 (0)20 7040 8568

Figure 1. The preparation of a cocaine sensing MIP on the surface of the optical fibre which exhibits fluorescence changes upon template binding.

# Experimental

## General

All chemicals were of analytical grade, purchased from Sigma-Aldrich and were used without further purification except for ethylene glycol dimethacrylate (EDMA) which was distilled under reduced pressure prior to use. AAF was prepared from fluoresceinamine according to the literature procedure.22 All solvents used were of HPLC grade from Fisher Scientific. Dry ethanol and dry acetonitrile for probe fabrication were taken from sealed bottles under argon. All aqueous solutions were prepared using distilled water. Absorption and fluorescence measurements of aqueous solutions containing fluorophore were carried out on a PerkinElmer Lambda 35 spectrophotometer and a Horiba Jobin Yvon Fluoromax-4 spetrofluorometer system with FluorEssenceTM as driving software, respectively.

## Sensor probe fabrication

The fabrication of the cocaine sensing probe requires a multi-step process which is not described in detail here but, in summary, the distal end of a 1000 μm diameter UV multimode fibre purchased from Thorlabs was polished, cleaned and functionalized with polymerisable groups before being subjected to thermal polymerization in a sealed glass capillary together with a pre-polymerisation mixture containing cocaine as the template, AAF as fluorescent functional monomer, acrylamide as co-monomer, EDMA as cross-linker and an initiator in dry acetonitrile. This procedure forms a thin film of MIP which is covalently bound to the surface of the fibre. The probe prepared by this procedure is shown in Fig. 2 where it can be seen that the distal end of the probe shows a distinctive coloration due to the presence of the fluorophore. The sensor tip was washed repeatedly with MeOH-AcOH (8:2, v/v) in an ultrasonic bath, followed by the same procedure with MeOH alone to remove the template and all unreacted materials and the excess amount of polymer formed which was not directly bound to the fibre.  The probe was then stored in a cool, dry place until use. A control probe (non-imprinted polymer, NIP) was prepared at the same time under identical conditions, using the same recipe but without the addition of the template cocaine.

a)

b)

Figure 2. Cocaine probe prepared in this work showing the active distal end of the sensor a) under normal conditions and b) when 375 nm UV light was launched to the end of the fibre.

## Experimental set-up

The set-up used for the measurements undertaken to calibrate the probe is as presented in Fig. 3, where light from a LED, emitting at a centre wavelength of 375 nm is coupled through a multimode UV/Visible fibre with hard polymer cladding, 1000µm silica core and numerical aperture (NA) of 0.37, using collimation and focusing lenses, into a 2x1 Y fibre coupler, made using two multimode UV/Visible fibres with hard polymer cladding, 600µm silica core and 0.37 NA, which is connected to the sensor probe with the active sensing region being located at the distal end of the fibre. Following interaction of cocaine with the active region, a portion of the total light emitted from the sensing layer is collected and guided through the other end of the fibre coupler to an Ocean Optics USB2000 spectrometer, the output from which is then displayed on a computer screen.

Figure 3. Experimental set-up used in the evaluation of the performance of the probe designed.

# Results and discussion

a)

c)

e)

f)

d)

b)

Figure 4. Measurement results: a) Dynamic response of the sensor probe b) The evolution of fluorescence spectra of the sensor with cocaine concentration in the range from 0 to 1000 µM in MeCN/H2O 9:1. Inset shows the dependence of emission maximum on cocaine concentration c) The evolution of fluorescence spectra of the sensor with cocaine concentration in the range from 0 to 1000 µM in H2O/MeCN 9:1. Inset shows the dependence of emission maximum on cocaine concentration d) Response of the sensor probe and control probe to 0.1 mM cocaine in H2O/MeCN 9:1 e) Response of the sensor probe to different drugs with concentration of 250 µM in H2O/MeCN 9:1 f) Fluorescence intensity of the probe at the emission wavelength as function of time during 60 min of continuous illumination.

## Response time of the sensor

Before performing calibration measurements of the sensor, its response time was investigated. Fig. 4a shows the dynamic response obtained from the spectrofluorometer of the sensor to a step change from 0 µM cocaine to 250µM cocaine in H2O/MeCN 9:1. Although 70% of the total signal change happened within five minutes, it took around fifteen minutes for the sensor to attain equilibrium (to 95%). This response time, however, is considered to be rapid compared to other MIP sensor systems where a few hour incubation is required for the interaction between the template/analyte and the binding sites in the MIP to reach equilibrium. 23, 24 This important result is most probably due to both the intrinsic sensor design and the thickness of the polymer film.

## Response of the sensor to cocaine

The calibration measurements of the sensor were first performed in MeCN/H2O 9:1. MeCN was used because the MIP was prepared in MeCN, so its recognition properties would be expected to be best in MeCN (since this should result in no loss of selectivity due to MIP swelling).25 H2O was added at 10% (v/v) in order to reduce non-specific binding. The sensor exhibited an increase in fluorescence intensity with increasing cocaine concentration in the range from 0 - 250 µM (Fig. 4b). At higher concentrations of cocaine, no further change of intensity was observed due to the saturation of all available binding sites. It was also interesting to see if the sensor could work in aqueous media where biological recognition mainly occurs. Measurements were carried out in a manner similar to those of Fig. 4b but the solvent system was replaced by H2O/MeCN 9:1 (MeCN was added to solubilize the analyte). The sensor showed a greater increase in fluorescence in the aqueous than in the organic solution (Fig, 4c), which is attributed to the difference between the photophysical properties of the fluorophore in aqueous and in organic media. The dynamic response range of the sensor in aqueous solution is also wider, from 0 up to 500 µM. This arises because non-covalent interactions between cocaine and the functional groups in the MIP were weaker in H2O, thus the available binding sites were not fully occupied until higher concentrations of cocaine were used. The response of the control probe (NIP) to cocaine was also studied and it was observed that the NIP probe showed a lesser increase in fluorescence upon cocaine addition of 0.1 mM than do the MIP probe (139% compared to 52%, Fig, 4d), suggesting that the analyte bound to the MIP more strongly than to the NIP and confirming the existence of recognition sites in the MIPs.

## Response of the senor to different drugs

Different drugs including cocaine, ketamine, amphetamine sulphate, ecgonine methyl ester and buprenorphine.HCl were used for the selectivity investigation. It can be seen from Fig, 4e that the sensor responds less to any of these drugs than to the template cocaine. This once again indicates successful imprinting and selective recognition sites in the MIP.  Significantly higher reactivity of the sensor for codeine compared to that for other competitors may be due to the availability of more functional groups on the codeine molecule which are able to interact non-covanlently with the binding sites in the MIP. It should also be noted that some of the drugs tested were in the salt forms, not free bases, and the presence of acids might affect the test results. Further investigation should be carried out either in buffer solutions or using the drugs in their free base forms to eliminate the effect of acids.

## Reproducibility and photostability

Critical to the successful application of this sensor is its stability both in terms of storage, its susceptibility to error due to intense irradiation of the sample and its reproducibility in use.  A preliminary evaluation of these parameters was made in order to understand better the performance of the sensor.  The stability of the sensor was tested by calibrating it with different cocaine concentrations ranging from 0 to 500 µM and recalibrating it after 24 h. No significant difference was observed between the two measurements and the results obtained were found to be fairly reproducible (data not shown). In order to test the photostability of the sensor, it was coupled into the fluorimeter through a dichroic mirror using a fibre bundle. The excitation light at 375 nm was launched to the distal end of the probe consisting of the sensing material by the high power Xe lamp of the fluorimeter continuously for 1 h. The fluorescence intensity of the probe was dynamically collected.  As can be seen from Fig. 4f, very little photobleaching (less than 1%) was observed over the time investigated. Compared to the decrease in fluorescence intensity by 65% observed for carboxyfluorescein after 60 min of continuous illumination using a mercury lamp26, the MIP prepared in this work possesses superior photostability, a feature that is critically important with excitation by high intensity solid state sources.

# CONCLUSIONS

In this paper, a new robust, compact and portable fibre optic chemical sensor for cocaine has been developed and evaluated and preliminary results reported. The sensor showed an increase of fluorescence intensity in response to cocaine in the concentration range of 0 – 500 µM in aqueous acetonitrile mixtures with good reproducibility over 24 h. Selectivity to different drugs was also demonstrated. Research is currently ongoing to improve the performance of the sensor both in term of selectivity and reproducibility by looking into different fluorophore alternatives. Once being refined, this type of sensor will potentially make a significant impact on the homeland security enhancement as it can provide technical evidence on the spot with minimum invasion.

ACKNOWLEDGMENTS

The authors would like to thank the support from the Engineering and Physical Sciences Research Council through various funding schemes and the Royal Academy of Engineering/Leverhulme Trust for the Senior Research Fellowship to one of the authors.

References

1.	Degenhardt, L., W.T. Chiu, N. Sampson, R.C. Kessler, J.C. Anthony, M. Angermeyer, R. Bruffaerts, G. de Girolamo, O. Gureje, Y.Q. Huang, A. Karam, S. Kostyuchenko, J.P. Lepine, M.E.M. Mora, Y. Neumark, J.H. Ormel, A. Pinto-Meza, J. Posada-Villa, D.J. Stein, T. Takeshima and J.E. Wells, PLoS Med., 2008, 5, 1053-1067.

2.	Gilloteaux, J. and N.N. Ekwedike, Ultrastruct. Pathol., 2010, 34, 90-98.

3.	Strano-Rossi, S., F. Molaioni, F. Rossi and F. Botre, Rapid Commun. Mass Spectrom., 2005, 19, 1529-1535.

4.	Popa, D.S., L. Vlase, S.E. Leucuta and F. Loghin, Farmacia, 2009, 57, 301-308.

5.	Tagliaro, F., C. Antonioli, Z. Debattisti, S. Ghielmi and M. Marigo, J. Chromatogr. A, 1994, 674, 207-215.

6.	Trachta, G., B. Schwarze, B. Sagmuller, G. Brehm and S. Schneider, J. Mol. Struct., 2004, 693, 175-185.

7.	Antonilli, L., C. Suriano, M.C. Grassi and P. Nencini, J. Chromatogr. B, 2001, 751, 19-27.

8.	Oiye, E.N., N.B. de Figueiredo, J.F. de Andrade, H.M. Tristao and M.F. de Oliveira, Forensic Sci. Int., 2009, 192, 94-97.

9.	Baumgartner, W.A., C.T. Black, P.F. Jones and W.H. Blahd, J. Nucl. Med., 1982, 23, 790-792.

10.	Verebey, K. and A. Depace, J. Forensic Sci., 1989, 34, 46-52.

11.	Wang, J., Biosens. Bioelectron., 2006, 21, 1887-1892.

12.	Devine, P.J., N.A. Anis, J. Wright, S. Kim, A.T. Eldefrawi and M.E. Eldefrawi, Anal. Biochem., 1995, 227, 216-224.

13.	Meijler, M.M., G.F. Kaufmann, L.W. Qi, J.M. Mee, A.R. Coyle, J.A. Moss, P. Wirsching, M. Matsushita and K.D. Janda, J. Am. Chem. Soc., 2005, 127, 2477-2484.

14.	Liu, J.W. and Y. Lu, Angew. Chem. Int. Edit., 2006, 45, 90-94.

15.	Zhang, C.Y. and L.W. Johnson, Anal. Chem., 2009, 81, 3051-3055.

16.	Li, X.X., H.L. Qi, L.H. Shen, Q. Gao and C.X. Zhang, Electroanalysis, 2008, 20, 1475-1482.

17.	Baker, B.R., R.Y. Lai, M.S. Wood, E.H. Doctor, A.J. Heeger and K.W. Plaxco, J. Am. Chem. Soc., 2006, 128, 3138-3139.

18.	Li, Y., H.L. Qi, Y. Peng, J. Yang and C.X. Zhang, Electrochem. Commun., 2007, 9, 2571-2575.

19.	Grattan, K.T.V. and B.T. Meggitt, eds. Chemical and environmental sensing. Optical Fiber Sensor Technology. Vol. 4. 1999, Kluwer Academic Publishers.

20.	Lee, S.T., J. Gin, V.P.N. Nampoori, C.P.G. Vallabhan, N.V. Unnikrishnan and P. Radhakrishnan, J. Opt. A: Pure Appl. Opt., 2001, 3, 355-359.

21.	Haupt, K. and K. Mosbach, Chem. Rev., 2000, 100, 2495-2504.

22.	Munkholm, C., D.R. Parkinson and D.R. Walt, J. Am. Chem. Soc., 1990, 112, 2608-2612.

23.	Kriz, D., O. Ramstrom, A. Svensson and K. Mosbach, Anal. Chem., 1995, 67, 2142-2144.

24.	Turkewitsch, P., B. Wandelt, G.D. Darling and W.S. Powell, Anal. Chem., 1998, 70, 2025-2030.

25.	Kempe, M. and K. Mosbach, Anal. Lett., 1991, 24, 1137-1145.

26.	Vasylevska, A.S., A.A. Karasyov, S.M. Borisov and C. Krause, Anal. Bioanal. Chem., 2007, 387, 2131-2141.